🩺 Rheumatoid Arthritis Imaging with AI-Based Diagnostic Support

Version: 1.0
Author: S Deepika
Last Updated: May 22, 2025
Confidentiality: Internal Use Only (unless specified)

Contents

- Introduction

- Business Problem

- Proposed Solution

- System Design

- Key Technologies

- Implementation Details

- Results and Analysis

- Key Learnings

- Future Considerations

- Appendix

1. Introduction

Rheumatoid Arthritis (RA) is a progressive autoimmune disorder defined by joint inflammation, pain, and degeneration. This project  potrays  AI-based image analysis and machine learning to improve the diagnostic workflow for RA, especially in differentiating between ACPA-positive and ACPA-negative presentations.

2. Business Problem

Early and accurate diagnosis of RA remains a clinical challenge, especially when distinguishing between subtypes based on imaging alone. Manual interpretation is time-consuming, inconsistent, and requires specialized expertise.

Challenges include:

- Limited  medical image datasets

- Sub-pixel landmark detection requirements

- Instability  in radiographic imaging quality

- Differences in pathological presentation between ACPA+ and ACPA– RA

- Risk of overfitting due to small sample size in datasets

3. Proposed Solution

We propose an end-to-end AI pipeline that processes hand CT/X-ray images to identify RA-specific patterns. The solution uses:

- Advanced image preprocessing and augmentation

- Heatmap-based landmark detection

- Super-resolution models for enhanced spatial accuracy

- Histogram-based pattern classification

The goal is to program early-stage RA identification and subtype differentiation using AI-augmented imaging.

4. System Design

4.1 Overview

The architecture includes three main modules:

| Component | Description |
| --- | --- |
| Preprocessing | Image normalization, filtering, augmentation |
| Detection Engine | CNNs for heatmap prediction and landmark localization |
| Classification | Histogram comparison for diagnostic decisioning |

4.2 Image Workflow

- Load CT/X-ray image

- Apply augmentation (random expansion, brightness, rotation, etc.)

- Detect landmarks via heatmaps

- Super-resolve heatmaps for sub-pixel accuracy

- Classify using histogram-based correlation

5. Key Technologies

| Technology/Library | Purpose |
| --- | --- |
| PyTorch | Model training and inference |
| MONAI | Medical imaging deep learning |
| Albumentations | Data augmentation framework |
| MATLAB | Custom segmentation (pre-AI phase) |
| SRLD-Net / SR-UNet | Super-resolution for landmarking |

6. Implementation Details

6.1 Dataset

- Modality: Hand CT/X-ray (6 images per patient)

- Region of Interest: Metacarpophalangeal joints (index, middle fingers)

- Segmentation: Gaussian-enhanced filtering for ROI isolation

6.2 Augmentation Strategy

| Technique | Purpose |
| --- | --- |
| Random Expansion | Scale/position variation |
| Rotation/Flipping | Normalize anatomical orientation |
| Brightness Adjustment | Simulate radiographic variability |
| Cropping | Handle occlusion |
| Noise Injection | Model clinical artifacts |
| Elastic Deformation | Simulate real-world joint deformation (MRI) |

6.3 Heatmap-Based Detection

- Gaussian heatmaps are generated for each landmark.

- CNNs predict heatmaps instead of direct coordinates.

- The system calculates the center of mass for sub-pixel accuracy.

6.4 Super-Resolution Integration

- SRLD-Net: Lightweight, low-memory cost

- SR-UNet: Best accuracy, requires GPU for real-time

7. Results and Analysis

7.1 Key Outcomes

- Accurate early-stage identification of RA indicators:

  - Joint space narrowing

  - Bone erosion

  - Synovial hypertrophy

  - Thermal regions of inflammation

- Successful subtype classification between ACPA+ and ACPA– RA

7.2 Performance Summary

| Model | Accuracy | Memory Footprint | Best Use Case |
| --- | --- | --- | --- |
| SR-UNet | High | High | Precision-critical tasks |
| SRLD-Net | Moderate | Low | Mobile/embedded settings |

7.3 Dataset Analysis

- Annotated manually by clinicians

- Consistency checked against MML, CMF, and nasal bone datasets

- Evaluation metric: sub-pixel RMSE, classification precision

+

8. Key Learnings

- Heatmap-based methods are more effective than direct coordinate regression in landmark localization.

- Counter expansion observed in CT data may suggest structural compensation and could represent a novel biomarker.

- Super-resolution techniques significantly improve detection in low-resolution or noisy images.

- Gaussian filtering + histogram classification provides a reasonable  fallback mechanism in smaller datasets.

9. Future Considerations

Short-Term Enhancements:

- Improve automation in ROI segmentation using transformer models

- Integrate into PACS or RIS systems in hospitals for real-time aid

Long-Term Opportunities:

- Multimodal training (CT + MRI + thermal imaging)

- Patient-centric dashboards using federated learning

- Open-source model release for reproducibility and research expansion

10. Appendix

Terminology

| Term | Definition |
| --- | --- |
| ACPA | Anti-Citrullinated Protein Antibody – diagnostic marker |
| Heatmap | Probability distribution map for landmark localization |
| SRLD-Net | Super-resolution Landmark Detection Network |
| Counter Expansion | Peripheral thickening observed around degenerated joints |
| RMSE | Root Mean Square Error – used for sub-pixel error analysis |

References

- [1] Medical Imaging AI: Challenges and Opportunities (IEEE, 2022)

- [2] Landmark Detection via Heatmaps – CVPR Tutorial

- [3] MONAI Documentation – Project MONAI

- [4] PyTorch SR Implementation Examples

- [5] Clinical Rheumatology Handbook – 5th Edition

Top of Form

Bottom of Form